Certificate of Analysis

Recombinant Protein G Agarose

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|

|  |  |
| --- | --- |
| Product Number: G-3.0-6-AgaroseLot Number: 145-015Date of manufacture:, November, 2015 |  |
| Storage and handling: 4°CBead Size:50-150µBead structure: 6% Agarose High Crosslink, Rapid Flow Storage buffer: PBS 20% ethanol |  |

 |  | Product No: Lot No:Date of Manufacture: |

**Quality Control:**

r-Protein G Agarose has been functionally tested and has met the following specifications:

**Protein G Conjugation:**

Greater than or equal to 2.9 grams r-protein per Liter of resin by BCA/UV Assay

**Static Binding Capacity**:

Greater than 25mg Bovine IgG capacity per ml of Agarose beads

Results: Passes Specifications

**For Research Use Only**. Not for Human or diagnostic Use. If you have any further questions about this Certificate of Analysis, please contact Lytic Solutions at (608) 345-8848.



Fritz Schomburg, PhD

Founder and CEO